## Read Me
Addition Ballpark Template — DRAFT for review
Deitemeyer Brothers · General Construction · drafted 27 Sep 2026 · decisions applied 28 Sep 2026
What this is
The build sheet for a formula-driven addition ballpark in JobTread, plus a working calculator so the numbers can be checked before anything is built.
It prices a room addition, sunroom or detached garage at Good / Better / Best from 28 site-visit measurements, using DB's catalog rates and markup. It runs on the same engine as the bathroom and kitchen templates.
A bathroom or kitchen inside the addition is priced by that room's own template on the same job. This template prices only the plumbing rough-in to reach it.
How to use it
1. Calculator tab: type the site-visit numbers into the yellow cells. The three totals and ranges update.
2. Template tab: every JobTread line with its cost group, cost code, unit, exact quantity formula, and unit cost and price per tier.
3. Parameters tab: the 28 site-visit parameters plus the contingency rate, which the estimator sets. Each starts with 'Addition ' so it never collides with a bath or kitchen on the same job.
4. Rates tab: markup by cost type, and the ± band. It is set to ±20% for additions.
5. Calibration tab: how the template compares with DB's addition estimates, total and block by block.
Legend
Yellow fill, blue text: an input you can change. Black text: a formula. Grey text: notes and sources.
Cost type U is labor the catalog prices per square, foot or piece (siding, roofing, gutters). It is JobTread's Labor type, marked up ×1.45 as the catalog does.
How much to trust it
Checked against eight addition estimates: six signed, one pending, one lost. Seven land within 15% of DB's price for the same scope (median 9%, no bias). The eighth, a sunroom tear-down with deck work and a PVC roof deck, is 41% under; it is outside what this template prices.
This is an in-sample check. The inputs were rebuilt from those same estimates, and three rates were set against them. Block by block the errors are much larger (often 30–60% either way) and cancel in the total.
Additions also vary more than bathrooms: foundation, roof and siding choices move the price more than the finish tier does. So the ballpark is quoted at ±20%, and every addition goes on to the Design & Pricing Agreement.
Decided 28 Sep 2026
Contingency is its own line on each tier at 10%. The estimator sets the Addition Contingency Rate. The checks compare prices before contingency, because DB's past estimates carried none.
Allowances are stated as customer prices (JobTread allowance type: price). No total changes; an overage or a credit is simply the difference in price.
Products per tier: the estimator and the designer name one product per Good / Better / Best cell and lock the grid for six months (draft in the proposal, §9).
Framing lumber: the catalog item Framing/Sheathing Materials is updated to $22.50 per SF (from $17.65), so this template uses the catalog rate.
Every $0 line on an estimate names who supplies it: (by owner), (by others) or (not included).
Source for every rate: DB's catalog and addition estimates, read from JobTread (read-only) on 27 Sep 2026. See Calibration tab.

## Calculator
Addition Ballpark Calculator
Type the site-visit numbers into the yellow cells. Example values below are a 16 x 20 family room on a crawl space with four windows and a patio door, not a real customer.
Site-visit measurement | Value | What to enter | JobTread parameter name | Ballpark | Good | Better | Best
Addition Width | 20 | Feet along the house wall (for a detached building, the front wall) | {Addition Width} | Phase 1 - General Requirements | 7032.5 | 7032.5 | 7032.5
Addition Depth | 16 | Feet out from the house | {Addition Depth} | Phase 2 - Foundation & Framing | 26404.48 | 26404.48 | 26404.48
Addition Stories | 1 | Finished floors on the new footprint: 1 or 2 | {Addition Stories} | Phase 3 - Exterior & Rough-In | 11470.54 | 11470.54 | 11470.54
Addition Wall Height | 8 | Wall height in feet per storey (8 for most rooms; 9–10 for garages) | {Addition Wall Height} | Phase 4 - Interior | 14111.79 | 14111.79 | 14111.79
Addition Detached | 0 | 1 = stand-alone building such as a garage (four new walls, no tie-in); 0 = attached | {Addition Detached} | Finish selections (tier) | 11237.5 | 15283 | 22957.85
Addition Crawl Space | 1 | 1 = new crawl-space foundation. Set exactly one foundation to 1. | {Addition Crawl Space} | Contingency (the Addition Contingency Rate) | 7025.681 | 7430.231 | 8197.716
Addition Slab | 0 | 1 = footed slab with a 6-inch stem wall (garages, slab rooms) | {Addition Slab} | Ballpark total | 77282.491 | 81732.541 | 90174.876
Addition Basement | 0 | 1 = full basement under the addition | {Addition Basement} | Check: equals Template total | OK | OK | OK
Addition Piers | 0 | Posts or piers, for a porch-type addition on piers (count). 0 for any other foundation. | {Addition Piers}
Addition Site Excavation | 0 | 1 = DB digs, grades or trenches (tight access, slope, drainage). 0 = the concrete sub's price covers it. | {Addition Site Excavation} | Budget range shown to customer
Addition Roof Tie-In | 1 | 0 = none (detached); 1 = simple shed or gable against the house; 2 = cross-gable or valley | {Addition Roof Tie-In} | Low | 61800 | 65400 | 72100
Addition Electrical | 1 | 1 = wired: outlets, lights, switches. 0 = shell only. | {Addition Electrical} | High | 92700 | 98100 | 108200
Addition Drywall | 1 | 1 = insulated, drywalled and painted (rooms, finished garages). 0 = shell or three-season porch. | {Addition Drywall}
Addition Living Space | 1 | 1 = finished living space: flooring, trim and more coordination. 0 = garage, porch or shell. | {Addition Living Space} | Totals exclude sales tax and the design agreement fee.
Addition Windows | 4 | New windows in the addition | {Addition Windows} | The ± band is set on the Rates tab.
Addition Exterior Doors | 0 | New entry or service doors | {Addition Exterior Doors}
Addition Patio Doors | 1 | New sliding or hinged patio doors | {Addition Patio Doors}
Addition Garage Doors | 0 | Overhead garage doors | {Addition Garage Doors}
Addition Interior Doors | 0 | Interior doors, including closet and bathroom doors | {Addition Interior Doors}
Addition Wall Openings | 1 | Openings cut into the existing house wall (a doorway or wider, with a header) | {Addition Wall Openings}
Addition Plumbing Fixtures | 0 | Fixtures that need new drain and supply run into the addition. Their finish is priced by the bath or kitchen template. | {Addition Plumbing Fixtures}
Addition HVAC Extend | 1 | 1 = extend the existing ductwork into the addition | {Addition HVAC Extend}
Addition HVAC New Unit | 0 | 1 = new mini-split or dedicated system for the addition | {Addition HVAC New Unit}
Addition Extra Siding Squares | 0 | Squares of the house's own siding to replace so it matches (100 SF = 1 square) | {Addition Extra Siding Squares}
Addition Structure Removed | 0 | SF of existing porch, deck, sunroom or room torn down first | {Addition Structure Removed}
Addition Utility Trench | 0 | Feet of trench to feed power to a detached building | {Addition Utility Trench}
Addition Dumpster Loads | 1 | Haul-away loads (1 for most additions; 2–3 with a tear-down) | {Addition Dumpster Loads}
Addition Service Zone | 1 | Service Zone from the job in JobTread: 1 (within ~15 mi), 2 (~15-30 mi), 3 (~30-50 mi). Zone 1 adds no travel. Extended (over 50 mi) is quoted by hand: enter 4 as a floor and flag it. | {Addition Service Zone}
Addition Contingency Rate | 10 | Contingency as a % of the tier total, set by the estimator: 10 for additions and structural work | {Addition Contingency Rate}
Addition Permit Fee | 200 | Permit fee DB pays the city or township, in dollars (cost), from the permit table on the Rates tab. The estimator sets it from the job address. | {Addition Permit Fee}

## Template
JobTread build sheet: cost group "BALLPARK — Addition"
One row per JobTread line. Paste the quantity formula exactly as written into the catalog item. Rows marked [each tier] become one item in each of the Good, Better and Best option groups, at that tier's cost. Rows marked with a single tier go only in that option. All other rows are common scope.
# | JobTread cost group path | Line item | Cost code | Unit | JobTread quantity formula | Qty (live) | Good cost | Good type | Good unit price | Good total | Better cost | Better type | Better unit price | Better total | Best cost | Best type | Best unit price | Best total | Allowance type | Note
1 | BALLPARK — Addition > Phase 1 - General Requirements > Permits | Permit | General Requirements | Lump Sum | {Addition Permit Fee} | 200 | 1 | O | 1.45 | 290 | 1 | O | 1.45 | 290 | 1 | O | 1.45 | 290 |  | Quantity is the permit fee in dollars at $1.00 each, so it can follow the jurisdiction: the estimator enters the fee from the permit table on the Rates tab as the Permit Fee parameter. Marked up like other costs.
2 | BALLPARK — Addition > Phase 1 - General Requirements > Project/Site Management | Project Management (C) | Project Management | Hours | 6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30) | 17 | 55 | L | 100 | 1700 | 55 | L | 100 | 1700 | 55 | L | 100 | 1700
3 | BALLPARK — Addition > Phase 1 - General Requirements > Site Preparation | Site Prep Material | Site Construction | Each | 1 | 1 | 150 | M | 217.5 | 217.5 | 150 | M | 217.5 | 217.5 | 150 | M | 217.5 | 217.5
4 | BALLPARK — Addition > Phase 1 - General Requirements > Site Preparation | Site Prep Labor | Site Prep/Clean Up | Hours | 4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200) | 6 | 55 | L | 100 | 600 | 55 | L | 100 | 600 | 55 | L | 100 | 600
5 | BALLPARK — Addition > Phase 1 - General Requirements > Site Preparation | Rentals & Delivery | General Requirements | Each | 1 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/400) + 3*{Addition Living Space} | 5 | 300 | O | 435 | 2175 | 300 | O | 435 | 2175 | 300 | O | 435 | 2175 |  | P-Pod, dumpster buggy and deliveries. A finished room runs longer and carries about three more rental weeks.
6 | BALLPARK — Addition > Phase 1 - General Requirements > Demolition | Demolition | Demolition | Hours | 4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings} | 12 | 55 | L | 100 | 1200 | 55 | L | 100 | 1200 | 55 | L | 100 | 1200 |  | 4 h to open up an attached addition, 1 h per 3 SF of structure torn down, and 8 h per opening cut into the house.
7 | BALLPARK — Addition > Phase 1 - General Requirements > Site Clean Up | Hauling & Disposal | Hauling & Disposal (Direct) | Each | {Addition Dumpster Loads} | 1 | 250 | L | 450 | 450 | 250 | L | 450 | 450 | 250 | L | 450 | 450 |  | Uses DB's existing catalog item: $250 cost / $450 price per load.
8 | BALLPARK — Addition > Phase 1 - General Requirements > Site Clean Up | Final Clean | Site Prep/Clean Up | Hours | 2 + 2*{Addition Living Space} | 4 | 55 | L | 100 | 400 | 55 | L | 100 | 400 | 55 | L | 100 | 400
9 | BALLPARK — Addition > Phase 1 - General Requirements > Travel | Travel | Travel Related Costs | Hours | ceil(({Addition Service Zone} - 1)*({Addition Service Zone} + 2)/8*((6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30)) + (4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200)) + (4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings}) + (2 + 2*{Addition Living Space}) + (16*{Addition Site Excavation}) + (3*{Addition Piers}) + (ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In}) + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares}) + (ceil(2.5*{Addition Windows})) + (8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors}) + (9*{Addition Plumbing Fixtures}) + ({Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16))) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12)) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15)) + ({Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25)) + ({Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors})))/8) | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 |  | Travel by the job's Service Zone (JobTread sets it from the address): hours = person-days x (z-1)(z+2)/8, which is 0, 0.5 and 1.25 h per person-day for Zones 1, 2 and 3. Those are DB's own Service Call zone charges ($85 / $115 / $155 cost) turned into travel time. Extended (over 50 mi) is quoted by hand; zone 4 gives 2.25 h per person-day as a floor.
10 | BALLPARK — Addition > Phase 1 - General Requirements > Utilities | Utility - Electric | Utility Connection | Linear Feet | {Addition Utility Trench} | 0 | 12 | O | 17.4 | 0 | 12 | O | 17.4 | 0 | 12 | O | 17.4 | 0 |  | Catalog item, per foot of trench to a detached building. Matched both garage estimates.
11 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Site Work | Excavation & Grading | Excavation | Hours | 16*{Addition Site Excavation} | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 |  | Only when DB digs or grades. Most concrete subs include excavation in their price.
12 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Site Work | Rental - Mini Excavator | Excavation | Day | 2*{Addition Site Excavation} | 0 | 195 | O | 282.75 | 0 | 195 | O | 282.75 | 0 | 195 | O | 282.75 | 0
13 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Foundation | Concrete Foundation - Crawl | Concrete | Square Foot | {Addition Crawl Space}*{Addition Width}*{Addition Depth} | 320 | 18.07 | M | 26.2015 | 8384.48 | 18.07 | M | 26.2015 | 8384.48 | 18.07 | M | 26.2015 | 8384.48 |  | DB catalog item. Matched 258410's crawl-space sub to within 1% ($26.30 against $26.20 price per SF).
14 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Foundation | Concrete Foundation - 6" Stem | Concrete | Square Foot | {Addition Slab}*{Addition Width}*{Addition Depth} | 0 | 21 | M | 30.45 | 0 | 21 | M | 30.45 | 0 | 21 | M | 30.45 | 0 |  | DB catalog item: 3 ft footing, 6 in stem wall, 4 in slab. The 14x24 garage's sub ran $45.60 per SF; small slabs cost more per foot.
15 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Foundation | Concrete Foundation - Basement | Concrete | Square Foot | {Addition Basement}*{Addition Width}*{Addition Depth} | 0 | 33 | M | 47.85 | 0 | 33 | M | 47.85 | 0 | 33 | M | 47.85 | 0 |  | DB catalog item. No basement addition in the data; this line is untested.
16 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Foundation | Concrete Piers | Concrete | Each | {Addition Piers} | 0 | 500 | M | 725 | 0 | 500 | M | 725 | 0 | 500 | M | 725 | 0 |  | Per pier or post, with the labor line beside it. From the porch-type addition on three piers.
17 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Foundation | Pier Labor | Concrete | Hours | 3*{Addition Piers} | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0
18 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Framing | Framing/Sheathing Materials | Woods & Plastics | Square Foot | {Addition Width}*{Addition Depth}*{Addition Stories} | 320 | 22.5 | M | 32.625 | 10440 | 22.5 | M | 32.625 | 10440 | 22.5 | M | 32.625 | 10440 |  | DB catalog item, updated to $22.50 cost per SF of floor (from $17.65) to match DB's two most recent lumber quotes ($22.8 and $22.4). Check it against the latest quote every quarter.
19 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Framing | Header & Opening Material | Woods & Plastics | Each | {Addition Wall Openings} | 1 | 400 | M | 580 | 580 | 400 | M | 580 | 580 | 400 | M | 580 | 580
20 | BALLPARK — Addition > Phase 2 - Foundation & Framing > Framing | Framing/Sheathing Labor | Framing/Sheeting | Hours | ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In} | 70 | 55 | L | 100 | 7000 | 55 | L | 100 | 7000 | 55 | L | 100 | 7000 |  | 1 h per 6 SF of floor, plus 8 h per wall opening and per tie-in level. Matched DB's hours on 258410 (84 against 86) and 258551 (60 against 62). A framing sub costs about the same: $19 per SF price.
21 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Roofing | Gutters & Downspouts | Roofing | Linear Feet | {Addition Width} + {Addition Depth} + 20 | 56 | 8.25 | M | 11.9625 | 669.9 | 8.25 | M | 11.9625 | 669.9 | 8.25 | M | 11.9625 | 669.9 |  | Width + depth + 20 ft of downspout. Matched the 25-8197 and 260109 gutter lines within 10%.
22 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Roofing | Gutter Labor | Roofing | Linear Feet | {Addition Width} + {Addition Depth} + 20 | 56 | 3.5 | U | 5.075 | 284.2 | 3.5 | U | 5.075 | 284.2 | 3.5 | U | 5.075 | 284.2
23 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Siding | Soffit & Fascia Material | Siding | Linear Feet | ({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}) | 52 | 8 | M | 11.6 | 603.2 | 8 | M | 11.6 | 603.2 | 8 | M | 11.6 | 603.2
24 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Siding | Fascia and Soffit Install | Siding | Linear Feet | ({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}) | 52 | 4.5 | S | 5.85 | 304.2 | 4.5 | S | 5.85 | 304.2 | 4.5 | S | 5.85 | 304.2
25 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Siding | House Wrap Labor | Siding | Hours | ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares} | 5 | 55 | L | 100 | 500 | 55 | L | 100 | 500 | 55 | L | 100 | 500 |  | One hour per square, as on 25-8197, 258410 and 260109.
26 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Siding | Siding Labor | Siding | Square | ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares} | 5 | 160 | U | 232 | 1160 | 160 | U | 232 | 1160 | 160 | U | 232 | 1160 |  | Catalog $160 per square ($232 price). One garage estimate charged $326 per square.
27 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Siding | Siding Labor for Flashing | Siding | Each | 2*(1 - {Addition Detached}) | 2 | 150 | U | 217.5 | 435 | 150 | U | 217.5 | 435 | 150 | U | 217.5 | 435
28 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Windows & Doors | Window Labor | Windows | Hours | ceil(2.5*{Addition Windows}) | 10 | 55 | L | 100 | 1000 | 55 | L | 100 | 1000 | 55 | L | 100 | 1000
29 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Windows & Doors | Exterior Door & Lockset | Doors | Each | {Addition Exterior Doors} | 0 | 1230 | M | 1783.5 | 0 | 1230 | M | 1783.5 | 0 | 1230 | M | 1783.5 | 0 |  | Same as the kitchen template. 258410's entry door and lockset were $1,834 price.
30 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Windows & Doors | Garage Door | Doors | Each | {Addition Garage Doors} | 0 | 1300 | S | 1690 | 0 | 1300 | S | 1690 | 0 | 1300 | S | 1690 | 0 |  | Catalog Garage Door, installed by the sub. Neither garage estimate priced its overhead doors; if the owner supplies them, keep the line at $0 and name it (by owner).
31 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Windows & Doors | Garage Door Wrapping | Doors | Each | {Addition Garage Doors} | 0 | 105 | U | 152.25 | 0 | 105 | U | 152.25 | 0 | 105 | U | 152.25 | 0
32 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Windows & Doors | Door Labor | Doors | Hours | 8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors} | 8 | 55 | L | 100 | 800 | 55 | L | 100 | 800 | 55 | L | 100 | 800
33 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Plumbing & HVAC | Plumbing Materials | Mechanical (Plumbing & HVAC) | Each | {Addition Plumbing Fixtures} | 0 | 250 | M | 362.5 | 0 | 250 | M | 362.5 | 0 | 250 | M | 362.5 | 0 |  | Rough-in only: $250 and 9 h per fixture, from 258410's bathroom (37 h and $914 for four fixtures). The fixtures and finishes come from the bathroom or kitchen template.
34 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Plumbing & HVAC | Plumbing Labor | Mechanical (Plumbing & HVAC) | Hours | 9*{Addition Plumbing Fixtures} | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0
35 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Plumbing & HVAC | HVAC Extension (sub) | Mechanical (Plumbing & HVAC) | Lump Sum | {Addition HVAC Extend} | 1 | 1310 | S | 1703 | 1703 | 1310 | S | 1703 | 1703 | 1310 | S | 1703 | 1703 |  | Matches the $1,703 duct extension on 258684.
36 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Plumbing & HVAC | HVAC New Unit (sub) | Mechanical (Plumbing & HVAC) | Lump Sum | {Addition HVAC New Unit} | 0 | 7500 | S | 9750 | 0 | 7500 | S | 9750 | 0 | 7500 | S | 9750 | 0 |  | Median of DB's four addition HVAC subs, $7,979 to $13,000 price.
37 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Electrical | Electrical Materials | Electrical | Square Foot | {Addition Electrical}*{Addition Width}*{Addition Depth}*{Addition Stories} | 320 | 2.61 | M | 3.7845 | 1211.04 | 2.61 | M | 3.7845 | 1211.04 | 2.61 | M | 3.7845 | 1211.04 |  | DB catalog: $2.61 cost per SF of floor, the same as the kitchen template.
38 | BALLPARK — Addition > Phase 3 - Exterior & Rough-In > Electrical | Electrical Labor | Electrical | Hours | {Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16)) | 28 | 55 | L | 100 | 2800 | 55 | L | 100 | 2800 | 55 | L | 100 | 2800 |  | 8 h plus 1 h per 16 SF. DB ranged 22–41 h on 273–420 SF rooms.
39 | BALLPARK — Addition > Phase 4 - Interior > Insulation | Insulation - Sub | Finishes | Square Foot | {Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories} | 320 | 8.52 | S | 11.076 | 3544.32 | 8.52 | S | 11.076 | 3544.32 | 8.52 | S | 11.076 | 3544.32 |  | DB catalog: $8.52 cost per SF of floor, covering walls, attic and crawl.
40 | BALLPARK — Addition > Phase 4 - Interior > Drywall | Drywall Board - Mat | Finishes | Square Foot | {Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories} | 320 | 1.02 | M | 1.479 | 473.28 | 1.02 | M | 1.479 | 473.28 | 1.02 | M | 1.479 | 473.28 |  | DB prices drywall board and mud per SF of floor (catalog items), not per SF of board.
41 | BALLPARK — Addition > Phase 4 - Interior > Drywall | Drywall Mud - Mat | Finishes | Square Foot | {Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories} | 320 | 1.31 | M | 1.8995 | 607.84 | 1.31 | M | 1.8995 | 607.84 | 1.31 | M | 1.8995 | 607.84
42 | BALLPARK — Addition > Phase 4 - Interior > Drywall | Drywall Labor | Drywall | Hours | {Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12) | 27 | 55 | L | 100 | 2700 | 55 | L | 100 | 2700 | 55 | L | 100 | 2700
43 | BALLPARK — Addition > Phase 4 - Interior > Paint | Paint | Finishes | Gallons | {Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/60) | 6 | 85 | M | 123.25 | 739.5 | 85 | M | 123.25 | 739.5 | 85 | M | 123.25 | 739.5
44 | BALLPARK — Addition > Phase 4 - Interior > Paint | Paint Labor | Painting | Hours | {Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15) | 22 | 55 | L | 100 | 2200 | 55 | L | 100 | 2200 | 55 | L | 100 | 2200
45 | BALLPARK — Addition > Phase 4 - Interior > Interior Doors | Interior Door | Doors | Each | {Addition Interior Doors} | 0 | 400 | M | 580 | 0 | 400 | M | 580 | 0 | 400 | M | 580 | 0 |  | Same as the kitchen template: $400 plus 3 h each.
46 | BALLPARK — Addition > Phase 4 - Interior > Flooring | Flooring - Misc. Material | Finishes | Square Foot | {Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories} | 320 | 0.75 | M | 1.0875 | 348 | 0.75 | M | 1.0875 | 348 | 0.75 | M | 1.0875 | 348
47 | BALLPARK — Addition > Phase 4 - Interior > Flooring | Flooring Labor | Flooring | Hours | {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25) | 13 | 55 | L | 100 | 1300 | 55 | L | 100 | 1300 | 55 | L | 100 | 1300
48 | BALLPARK — Addition > Phase 4 - Interior > Interior Trims & Finishes | Trim - Baseboard | Woods & Plastics | Each | {Addition Living Space}*ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/12) | 5 | 45.49 | M | 65.9605 | 329.8025 | 45.49 | M | 65.9605 | 329.8025 | 45.49 | M | 65.9605 | 329.8025
49 | BALLPARK — Addition > Phase 4 - Interior > Interior Trims & Finishes | Trim - Casing | Woods & Plastics | Each | {Addition Living Space}*({Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}) | 5 | 37.11 | M | 53.8095 | 269.0475 | 37.11 | M | 53.8095 | 269.0475 | 37.11 | M | 53.8095 | 269.0475
50 | BALLPARK — Addition > Phase 4 - Interior > Interior Trims & Finishes | Trim Labor | Interior Trim/Casing/Paneling | Hours | {Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}) | 16 | 55 | L | 100 | 1600 | 55 | L | 100 | 1600 | 55 | L | 100 | 1600
51 | BALLPARK — Addition > Finish Level (select one) > [each tier] | Roofing Material | Roofing | Square | ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In} | 6 | 210 | M | 304.5 | 1827 | 245 | M | 355.25 | 2131.5 | 313 | M | 453.85 | 2723.1 | Price | Per square, including underlayment, ice and water, starter, ridge and drip edge. Good matches OC Duration ($203–$240 cost per square with accessories on 258410 and 25-8197). Stone-coated steel or PVC roofs cost 2–3 times Best; price those by hand.
52 | BALLPARK — Addition > Finish Level (select one) > [each tier] | Roofing Install | Roofing | Square | ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In} | 6 | 95 | U | 137.75 | 826.5 | 95 | U | 137.75 | 826.5 | 200 | U | 290 | 1740 |  | Good/Better: catalog roofing labor, $95 per square. Best: catalog standing-seam install, $200 per square ($290 price).
53 | BALLPARK — Addition > Finish Level (select one) > [each tier] | Siding Material | Siding | Square | ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares} | 5 | 230 | M | 333.5 | 1667.5 | 320 | M | 464 | 2320 | 495 | M | 717.75 | 3588.75 | Price | Per square with trim, J-channel, corners and house wrap. Good = Norandex Cedar Knolls ($165 catalog), Better = catalog Siding - Horizontal ($255), Best = vinyl shake or board and batten ($311–$430).
54 | BALLPARK — Addition > Finish Level (select one) > [each tier] | Windows | Windows | Each | {Addition Windows} | 4 | 475 | M | 688.75 | 2755 | 700 | M | 1015 | 4060 | 1100 | M | 1595 | 6380 | Price | Good = catalog Polaris double-hung ($475). 258410's casements ran $579 cost each.
55 | BALLPARK — Addition > Finish Level (select one) > [each tier] | Patio Door | Doors | Each | {Addition Patio Doors} | 1 | 1750 | M | 2537.5 | 2537.5 | 2500 | M | 3625 | 3625 | 3000 | M | 4350 | 4350 | Price | Good = catalog Sliding Door ($1,750). Better = catalog Patio Door ($2,500).
56 | BALLPARK — Addition > Finish Level (select one) > [each tier] | Flooring Material | Finishes | Square Foot | {Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories} | 320 | 3.5 | M | 5.075 | 1624 | 5 | M | 7.25 | 2320 | 9 | M | 13.05 | 4176 | Price | Good and Better are LVP; Best is engineered hardwood or premium LVP. All installed by the DB crew.
57 | BALLPARK — Addition > Finish Level (select one) > Good | Contingency — Good | Contingency | Lump Sum | {Addition Contingency Rate}/100*(({Addition Permit Fee})*1.45 + (6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30))*100 + (1)*217.5 + (4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200))*100 + (1 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/400) + 3*{Addition Living Space})*435 + (4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings})*100 + ({Addition Dumpster Loads})*450 + (2 + 2*{Addition Living Space})*100 + (ceil(({Addition Service Zone} - 1)*({Addition Service Zone} + 2)/8*((6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30)) + (4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200)) + (4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings}) + (2 + 2*{Addition Living Space}) + (16*{Addition Site Excavation}) + (3*{Addition Piers}) + (ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In}) + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares}) + (ceil(2.5*{Addition Windows})) + (8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors}) + (9*{Addition Plumbing Fixtures}) + ({Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16))) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12)) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15)) + ({Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25)) + ({Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors})))/8))*100 + ({Addition Utility Trench})*17.4 + (16*{Addition Site Excavation})*100 + (2*{Addition Site Excavation})*282.75 + ({Addition Crawl Space}*{Addition Width}*{Addition Depth})*26.2015 + ({Addition Slab}*{Addition Width}*{Addition Depth})*30.45 + ({Addition Basement}*{Addition Width}*{Addition Depth})*47.85 + ({Addition Piers})*725 + (3*{Addition Piers})*100 + ({Addition Width}*{Addition Depth}*{Addition Stories})*32.625 + ({Addition Wall Openings})*580 + (ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In})*100 + ({Addition Width} + {Addition Depth} + 20)*11.9625 + ({Addition Width} + {Addition Depth} + 20)*5.075 + (({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}))*11.6 + (({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}))*5.85 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*100 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*232 + (2*(1 - {Addition Detached}))*217.5 + (ceil(2.5*{Addition Windows}))*100 + ({Addition Exterior Doors})*1783.5 + ({Addition Garage Doors})*1690 + ({Addition Garage Doors})*152.25 + (8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors})*100 + ({Addition Plumbing Fixtures})*362.5 + (9*{Addition Plumbing Fixtures})*100 + ({Addition HVAC Extend})*1703 + ({Addition HVAC New Unit})*9750 + ({Addition Electrical}*{Addition Width}*{Addition Depth}*{Addition Stories})*3.7845 + ({Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16)))*100 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*11.076 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.479 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.8995 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12))*100 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/60))*123.25 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15))*100 + ({Addition Interior Doors})*580 + ({Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.0875 + ({Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25))*100 + ({Addition Living Space}*ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/12))*65.9605 + ({Addition Living Space}*({Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}))*53.8095 + ({Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}))*100 + (ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In})*304.5 + (ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In})*137.75 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*333.5 + ({Addition Windows})*688.75 + ({Addition Patio Doors})*2537.5 + ({Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories})*5.075) | 7025.681 | 1 | C | 1 | 7025.681 | 0 | C | 0 | 0 | 0 | C | 0 | 0 |  | Contingency: the rate times this tier's whole price before contingency. JobTread formulas cannot reference other lines, so the subtotal is spelled out; regenerate this formula (run the build script) after any rate change. Unit price $1.00, cost type Other with markup 0, cost code Contingency.
58 | BALLPARK — Addition > Finish Level (select one) > Better | Contingency — Better | Contingency | Lump Sum | {Addition Contingency Rate}/100*(({Addition Permit Fee})*1.45 + (6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30))*100 + (1)*217.5 + (4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200))*100 + (1 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/400) + 3*{Addition Living Space})*435 + (4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings})*100 + ({Addition Dumpster Loads})*450 + (2 + 2*{Addition Living Space})*100 + (ceil(({Addition Service Zone} - 1)*({Addition Service Zone} + 2)/8*((6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30)) + (4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200)) + (4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings}) + (2 + 2*{Addition Living Space}) + (16*{Addition Site Excavation}) + (3*{Addition Piers}) + (ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In}) + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares}) + (ceil(2.5*{Addition Windows})) + (8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors}) + (9*{Addition Plumbing Fixtures}) + ({Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16))) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12)) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15)) + ({Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25)) + ({Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors})))/8))*100 + ({Addition Utility Trench})*17.4 + (16*{Addition Site Excavation})*100 + (2*{Addition Site Excavation})*282.75 + ({Addition Crawl Space}*{Addition Width}*{Addition Depth})*26.2015 + ({Addition Slab}*{Addition Width}*{Addition Depth})*30.45 + ({Addition Basement}*{Addition Width}*{Addition Depth})*47.85 + ({Addition Piers})*725 + (3*{Addition Piers})*100 + ({Addition Width}*{Addition Depth}*{Addition Stories})*32.625 + ({Addition Wall Openings})*580 + (ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In})*100 + ({Addition Width} + {Addition Depth} + 20)*11.9625 + ({Addition Width} + {Addition Depth} + 20)*5.075 + (({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}))*11.6 + (({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}))*5.85 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*100 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*232 + (2*(1 - {Addition Detached}))*217.5 + (ceil(2.5*{Addition Windows}))*100 + ({Addition Exterior Doors})*1783.5 + ({Addition Garage Doors})*1690 + ({Addition Garage Doors})*152.25 + (8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors})*100 + ({Addition Plumbing Fixtures})*362.5 + (9*{Addition Plumbing Fixtures})*100 + ({Addition HVAC Extend})*1703 + ({Addition HVAC New Unit})*9750 + ({Addition Electrical}*{Addition Width}*{Addition Depth}*{Addition Stories})*3.7845 + ({Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16)))*100 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*11.076 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.479 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.8995 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12))*100 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/60))*123.25 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15))*100 + ({Addition Interior Doors})*580 + ({Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.0875 + ({Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25))*100 + ({Addition Living Space}*ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/12))*65.9605 + ({Addition Living Space}*({Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}))*53.8095 + ({Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}))*100 + (ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In})*355.25 + (ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In})*137.75 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*464 + ({Addition Windows})*1015 + ({Addition Patio Doors})*3625 + ({Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories})*7.25) | 7430.231 | 0 | C | 0 | 0 | 1 | C | 1 | 7430.231 | 0 | C | 0 | 0 |  | Contingency: the rate times this tier's whole price before contingency. JobTread formulas cannot reference other lines, so the subtotal is spelled out; regenerate this formula (run the build script) after any rate change. Unit price $1.00, cost type Other with markup 0, cost code Contingency.
59 | BALLPARK — Addition > Finish Level (select one) > Best | Contingency — Best | Contingency | Lump Sum | {Addition Contingency Rate}/100*(({Addition Permit Fee})*1.45 + (6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30))*100 + (1)*217.5 + (4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200))*100 + (1 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/400) + 3*{Addition Living Space})*435 + (4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings})*100 + ({Addition Dumpster Loads})*450 + (2 + 2*{Addition Living Space})*100 + (ceil(({Addition Service Zone} - 1)*({Addition Service Zone} + 2)/8*((6 + {Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/30)) + (4 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/200)) + (4*(1 - {Addition Detached}) + ceil({Addition Structure Removed}/3) + 8*{Addition Wall Openings}) + (2 + 2*{Addition Living Space}) + (16*{Addition Site Excavation}) + (3*{Addition Piers}) + (ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In}) + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares}) + (ceil(2.5*{Addition Windows})) + (8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors}) + (9*{Addition Plumbing Fixtures}) + ({Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16))) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12)) + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15)) + ({Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25)) + ({Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors})))/8))*100 + ({Addition Utility Trench})*17.4 + (16*{Addition Site Excavation})*100 + (2*{Addition Site Excavation})*282.75 + ({Addition Crawl Space}*{Addition Width}*{Addition Depth})*26.2015 + ({Addition Slab}*{Addition Width}*{Addition Depth})*30.45 + ({Addition Basement}*{Addition Width}*{Addition Depth})*47.85 + ({Addition Piers})*725 + (3*{Addition Piers})*100 + ({Addition Width}*{Addition Depth}*{Addition Stories})*32.625 + ({Addition Wall Openings})*580 + (ceil({Addition Width}*{Addition Depth}*{Addition Stories}/6) + 8*{Addition Wall Openings} + 8*{Addition Roof Tie-In})*100 + ({Addition Width} + {Addition Depth} + 20)*11.9625 + ({Addition Width} + {Addition Depth} + 20)*5.075 + (({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}))*11.6 + (({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width}))*5.85 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*100 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*232 + (2*(1 - {Addition Detached}))*217.5 + (ceil(2.5*{Addition Windows}))*100 + ({Addition Exterior Doors})*1783.5 + ({Addition Garage Doors})*1690 + ({Addition Garage Doors})*152.25 + (8*{Addition Exterior Doors} + 8*{Addition Patio Doors} + 3*{Addition Interior Doors})*100 + ({Addition Plumbing Fixtures})*362.5 + (9*{Addition Plumbing Fixtures})*100 + ({Addition HVAC Extend})*1703 + ({Addition HVAC New Unit})*9750 + ({Addition Electrical}*{Addition Width}*{Addition Depth}*{Addition Stories})*3.7845 + ({Addition Electrical}*(8 + ceil({Addition Width}*{Addition Depth}*{Addition Stories}/16)))*100 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*11.076 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.479 + ({Addition Drywall}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.8995 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/12))*100 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/60))*123.25 + ({Addition Drywall}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/15))*100 + ({Addition Interior Doors})*580 + ({Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories})*1.0875 + ({Addition Living Space}*ceil({Addition Width}*{Addition Depth}*{Addition Stories}/25))*100 + ({Addition Living Space}*ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/12))*65.9605 + ({Addition Living Space}*({Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}))*53.8095 + ({Addition Living Space}*(4 + ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Stories}/8) + {Addition Windows} + {Addition Exterior Doors} + {Addition Patio Doors}))*100 + (ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In})*453.85 + (ceil({Addition Width}*{Addition Depth}*1.25/100) + 2*{Addition Roof Tie-In})*290 + (ceil(({Addition Width} + 2*{Addition Depth} + {Addition Detached}*{Addition Width})*{Addition Wall Height}*{Addition Stories}*1.15/100) + {Addition Extra Siding Squares})*717.75 + ({Addition Windows})*1595 + ({Addition Patio Doors})*4350 + ({Addition Living Space}*{Addition Width}*{Addition Depth}*{Addition Stories})*13.05) | 8197.716 | 0 | C | 0 | 0 | 0 | C | 0 | 0 | 1 | C | 1 | 8197.716 |  | Contingency: the rate times this tier's whole price before contingency. JobTread formulas cannot reference other lines, so the subtotal is spelled out; regenerate this formula (run the build script) after any rate change. Unit price $1.00, cost type Other with markup 0, cost code Contingency.
|  | TOTAL | [7 empty] | 77282.491 |  |  |  | 81732.541 |  |  |  | 90174.876

## Parameters
JobTread job parameters used by the formulas
Verified 27 Sep 2026: formula variables are job parameters (job.parameters), the same mechanism DB's roofing formulas use. Names must match exactly. Every name starts with 'Addition ' so a job carrying more than one ballpark template never shares a parameter between rooms.
JobTread parameter | Type | Default | How to measure / count | Used by (line items)
Addition Width | Number | 20 | Feet along the house wall (for a detached building, the front wall) | Concrete Foundation - 6" Stem, Concrete Foundation - Basement, Concrete Foundation - Crawl, Drywall Board - Mat, Drywall Labor, Drywall Mud - Mat, Electrical Labor, Electrical Materials, Fascia and Soffit Install, Flooring - Misc. Material, Flooring Labor, Flooring Material, Framing/Sheathing Labor, Framing/Sheathing Materials, Gutter Labor, Gutters & Downspouts, House Wrap Labor, Insulation - Sub, Paint, Paint Labor, Project Management (C), Rentals & Delivery, Roofing Install, Roofing Material, Siding Labor, Siding Material, Site Prep Labor, Soffit & Fascia Material, Travel, Trim - Baseboard, Trim Labor
Addition Depth | Number | 16 | Feet out from the house | Concrete Foundation - 6" Stem, Concrete Foundation - Basement, Concrete Foundation - Crawl, Drywall Board - Mat, Drywall Labor, Drywall Mud - Mat, Electrical Labor, Electrical Materials, Fascia and Soffit Install, Flooring - Misc. Material, Flooring Labor, Flooring Material, Framing/Sheathing Labor, Framing/Sheathing Materials, Gutter Labor, Gutters & Downspouts, House Wrap Labor, Insulation - Sub, Paint, Paint Labor, Project Management (C), Rentals & Delivery, Roofing Install, Roofing Material, Siding Labor, Siding Material, Site Prep Labor, Soffit & Fascia Material, Travel, Trim - Baseboard, Trim Labor
Addition Stories | Number | 1 | Finished floors on the new footprint: 1 or 2 | Drywall Board - Mat, Drywall Labor, Drywall Mud - Mat, Electrical Labor, Electrical Materials, Flooring - Misc. Material, Flooring Labor, Flooring Material, Framing/Sheathing Labor, Framing/Sheathing Materials, House Wrap Labor, Insulation - Sub, Paint, Paint Labor, Project Management (C), Rentals & Delivery, Siding Labor, Siding Material, Site Prep Labor, Travel, Trim - Baseboard, Trim Labor
Addition Wall Height | Number | 8 | Wall height in feet per storey (8 for most rooms; 9–10 for garages) | House Wrap Labor, Siding Labor, Siding Material, Travel
Addition Detached | Number | 0 | 1 = stand-alone building such as a garage (four new walls, no tie-in); 0 = attached | Demolition, Fascia and Soffit Install, House Wrap Labor, Siding Labor, Siding Labor for Flashing, Siding Material, Soffit & Fascia Material, Travel, Trim - Baseboard, Trim Labor
Addition Crawl Space | Number | 0 | 1 = new crawl-space foundation. Set exactly one foundation to 1. | Concrete Foundation - Crawl
Addition Slab | Number | 0 | 1 = footed slab with a 6-inch stem wall (garages, slab rooms) | Concrete Foundation - 6" Stem
Addition Basement | Number | 0 | 1 = full basement under the addition | Concrete Foundation - Basement
Addition Piers | Number | 0 | Posts or piers, for a porch-type addition on piers (count). 0 for any other foundation. | Concrete Piers, Pier Labor, Travel
Addition Site Excavation | Number | 0 | 1 = DB digs, grades or trenches (tight access, slope, drainage). 0 = the concrete sub's price covers it. | Excavation & Grading, Rental - Mini Excavator, Travel
Addition Roof Tie-In | Number | 1 | 0 = none (detached); 1 = simple shed or gable against the house; 2 = cross-gable or valley | Framing/Sheathing Labor, Roofing Install, Roofing Material, Travel
Addition Electrical | Number | 1 | 1 = wired: outlets, lights, switches. 0 = shell only. | Electrical Labor, Electrical Materials, Travel
Addition Drywall | Number | 1 | 1 = insulated, drywalled and painted (rooms, finished garages). 0 = shell or three-season porch. | Drywall Board - Mat, Drywall Labor, Drywall Mud - Mat, Insulation - Sub, Paint, Paint Labor, Travel
Addition Living Space | Number | 1 | 1 = finished living space: flooring, trim and more coordination. 0 = garage, porch or shell. | Final Clean, Flooring - Misc. Material, Flooring Labor, Flooring Material, Project Management (C), Rentals & Delivery, Travel, Trim - Baseboard, Trim - Casing, Trim Labor
Addition Windows | Number | 3 | New windows in the addition | Travel, Trim - Casing, Trim Labor, Window Labor, Windows
Addition Exterior Doors | Number | 0 | New entry or service doors | Door Labor, Exterior Door & Lockset, Travel, Trim - Casing, Trim Labor
Addition Patio Doors | Number | 0 | New sliding or hinged patio doors | Door Labor, Patio Door, Travel, Trim - Casing, Trim Labor
Addition Garage Doors | Number | 0 | Overhead garage doors | Garage Door, Garage Door Wrapping
Addition Interior Doors | Number | 0 | Interior doors, including closet and bathroom doors | Door Labor, Interior Door, Travel
Addition Wall Openings | Number | 1 | Openings cut into the existing house wall (a doorway or wider, with a header) | Demolition, Framing/Sheathing Labor, Header & Opening Material, Travel
Addition Plumbing Fixtures | Number | 0 | Fixtures that need new drain and supply run into the addition. Their finish is priced by the bath or kitchen template. | Plumbing Labor, Plumbing Materials, Travel
Addition HVAC Extend | Number | 0 | 1 = extend the existing ductwork into the addition | HVAC Extension (sub)
Addition HVAC New Unit | Number | 0 | 1 = new mini-split or dedicated system for the addition | HVAC New Unit (sub)
Addition Extra Siding Squares | Number | 0 | Squares of the house's own siding to replace so it matches (100 SF = 1 square) | House Wrap Labor, Siding Labor, Siding Material, Travel
Addition Structure Removed | Number | 0 | SF of existing porch, deck, sunroom or room torn down first | Demolition, Travel
Addition Utility Trench | Number | 0 | Feet of trench to feed power to a detached building | Utility - Electric
Addition Dumpster Loads | Number | 1 | Haul-away loads (1 for most additions; 2–3 with a tear-down) | Hauling & Disposal
Addition Service Zone | Number | 1 | Service Zone from the job in JobTread: 1 (within ~15 mi), 2 (~15-30 mi), 3 (~30-50 mi). Zone 1 adds no travel. Extended (over 50 mi) is quoted by hand: enter 4 as a floor and flag it. | Travel
Addition Contingency Rate | Number | 10 | Contingency as a % of the tier total, set by the estimator: 10 for additions and structural work
Addition Permit Fee | Number | 200 | Permit fee DB pays the city or township, in dollars (cost), from the permit table on the Rates tab. The estimator sets it from the job address. | Permit

## Rates
Markup by cost type
Cost type code | Cost type | Price ÷ cost | Note
L | Labor | 1.8182 | DB catalog labor: $55 cost / $100 price per hour (a 45% margin).
M | Materials | 1.45 | DB catalog materials: ×1.45 with zero variance across the catalog (field notes §9).
S | Subcontractor | 1.3 | Countertop, tile and flooring subs in DB's estimates were marked up ×1.30.
O | Other | 1.45 | Permits and misc. fees: ×1.45.
U | Labor, per unit | 1.45 | Labor the catalog prices per square or foot (siding, roofing, gutters). JobTread cost type Labor, marked up ×1.45 like the catalog.
C | Contingency | 1 | Its own line, carried at cost so it can be reported and credited. JobTread cost type Other with the markup set to 0, cost code Contingency.
Labor cost per hour |  | 55 | Used as the unit cost of every labor line on the Template tab.
Labor price per hour |  | 100
Budget range accuracy (±) |  | 20% | Additions are quoted at ±20% and always go on to the Design & Pricing Agreement.
Permit fees by jurisdiction |  |  | DB's vendor bills for permits, last 6 months. Enter the job's fee as the Permit Fee parameter.
Jurisdiction |  |  | Fee DB pays
Village of Convoy |  |  | $10
City of Van Wert |  |  | $20 for the first $10K of project cost, plus $2 per additional $1K (paid $20–$122, average $36)
City of Lima |  |  | $63
Lucas County |  |  | $75.75
Union Township |  |  | $100
Pleasant Township Trustees |  |  | $300
Deitemeyer Brothers internal |  |  | $32–$40, average $36
Travel by service zone |  |  | Travel by the job's Service Zone (JobTread sets it from the address): hours = person-days x (z-1)(z+2)/8, which is 0, 0.5 and 1.25 h per person-day for Zones 1, 2 and 3. Those are DB's own Service Call zone charges ($85 / $115 / $155 cost) turned into travel time. Extended (over 50 mi) is quoted by hand; zone 4 gives 2.25 h per person-day as a floor.
Service Zone | Enter | Hours per person-day
Zone 1 (within ~15 mi) | 1 | 0
Zone 2 (~15–30 mi) | 2 | 0.5
Zone 3 (~30–50 mi) | 3 | 1.25
Extended (over 50 mi): quote by hand | 4 | 2.25

## Calibration
Checks against DB's addition estimates since the move to JobTread
Like for like: actual = estimate total less work another template or an add-on prices (listed below); model = template total less lines the estimate carried at $0. Intake was rebuilt from each estimate's own lines, so this is not an out-of-sample test.
258684 is shown but not counted: a tear-down and rebuild with deck work, stone and a PVC roof deck.
Totals
Job | Status | What it is | Floor SF | Actual (same scope) | Model at its tier | Error | Actual $/SF | Model Good | Model Better | Model Best | ¦Error¦ | Addition Width | Addition Depth | Addition Stories | Addition Wall Height | Addition Detached | Addition Crawl Space | Addition Slab | Addition Basement | Addition Piers | Addition Site Excavation | Addition Roof Tie-In | Addition Electrical | Addition Drywall | Addition Living Space | Addition Windows | Addition Exterior Doors | Addition Patio Doors | Addition Garage Doors | Addition Interior Doors | Addition Wall Openings | Addition Plumbing Fixtures | Addition HVAC Extend | Addition HVAC New Unit | Addition Extra Siding Squares | Addition Structure Removed | Addition Utility Trench | Addition Dumpster Loads | Addition Service Zone | Addition Permit Fee
258410 | approved | Finished 420 SF room on a crawl, with a bathroom; re-sided the house to match | 420 | 136051.6 | 122283.57 | -10.12% | 323.9324 | 118760.07 | 125234.32 | 139428.37 | 10.12% | 20 | 21 | 1 | 8 | 0 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 5 | 1 | 0 | 0 | 4 | 1 | 4 | 0 | 1 | 21 | 0 | 0 | 1 | 1 | 200
25-8197 | approved | 795 SF shell on a crawl, framed and dried in; customer finishes the inside | 792 | 91096.38 | 85071.31 | -6.614% | 115.0207 | 85071.31 | 87942.31 | 93961.26 | 6.614% | 22 | 36 | 1 | 8 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 200
261040 | approved | 286 SF porch-type room on piers; wired, not insulated | 286 | 30650.72 | 34328.83 | 12% | 107.1703 | 34328.83 | 35416.33 | 38443.93 | 12% | 13 | 22 | 1 | 8 | 0 | 0 | 0 | 0 | 3 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 200
261094 | pending | Detached 24x24 garage on a footed slab, drywalled, heated | 576 | 80138.97 | 81459.59 | 1.648% | 139.1302 | 81459.59 | 81459.59 | 81459.59 | 1.648% | 24 | 24 | 1 | 8 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 80 | 1 | 1 | 200
260109 | approved | Detached 14x24 garage on a footed slab, drywalled | 336 | 55878.86 | 55682.09 | -0.3521% | 166.3061 | 55682.09 | 57501.84 | 61692.34 | 0.3521% | 14 | 24 | 1 | 8 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 1 | 1 | 200
246466 | approved | About 360 SF sunroom on a crawl, with a stone-coated steel roof | 360 | 115817.78 | 105311.82 | -9.071% | 321.7161 | 98372.12 | 104643.37 | 116534.82 | 9.071% | 18 | 20 | 1 | 8 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 10 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 130 | 0 | 1 | 1 | 200
258551 | denied | 273 SF kitchen addition on a crawl | 273 | 68589.48 | 77062.19 | 12.35% | 251.2435 | 77062.19 | 78939.21 | 83876.46 | 12.35% | 21 | 13 | 1 | 8 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 2 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 0 | 114 | 0 | 1 | 1 | 200
258684 | approved | Tear-down and rebuild of a 333 SF sunroom, with a PVC roof deck and deck work | 336 | 174713.8 | 102279.98 | -41.46% | 519.9815 | 86505.43 | 91941.48 | 102279.98 | 41.46% | 21 | 16 | 1 | 8 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 8 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 333 | 0 | 2 | 1 | 200
Median absolute error (counted estimates) |  |  |  | 9.071%
Median error (bias) |  |  |  | -0.3521%
Counted estimates within ±15% |  |  |  | 7 of 7
Block by block (model against actual, same scope)
Large offsets cancel in the totals. '-' = under $500 in the estimate, or left unpriced by it.
Block |  |  | 258410 | 25-8197 | 261040 | 261094 | 260109 | 246466 | 258551 | 258684
Foundation & site |  |  | -12% | -27% | -8% | -6% | -33% | +3% | +98% | -68%
Framing |  |  | +27% | -2% | +69% | -7% | -14% | -9% | +39% | -36%
Roofing & gutters |  |  | -44% | -2% | +3% | - | +80% | -68% | +19% | -88%
Siding, soffit & fascia |  |  | -28% | +59% | -27% | - | +20% | +155% | +48% | -30%
Windows & doors |  |  | +5% | -42% | - | - | +195% | -2% | +56% | +117%
Insulation, drywall, paint, floor, trim |  |  | +6% | - | - | +87% | +65% | +31% | -10% | -2%
Electrical, plumbing & HVAC |  |  | -19% | - | -8% | +21% | -12% | -8% | -13% | -3%
Demolition & general |  |  | -13% | +66% | +1% | -36% | -1% | -15% | +0% | -31%
Left out of the actual (priced by another template or an add-on)
258410 |  | Cabinetry $5,703; Closet Organization $378; Shower/Tub $2,552; Specialites $8,173; Bathroom fixtures and trim (toilet, faucets, shower trim) $2,907
25-8197 |  | Design $7,000
246466 |  | Design $3,079; Composite deck, 196 SF $8,501
258551 |  | Cabinetry $53,777; Design $5,000
258684 |  | Deck $11,340
Left out of the model (the estimate carried these at $0)
260109 |  | Insulation - Sub
261094 |  | Insulation - Sub, Siding Material, Siding Labor, House Wrap Labor, Siding Labor for Flashing, Roofing Material, Roofing Install, Gutters & Downspouts, Gutter Labor, Soffit & Fascia Material, Fascia and Soffit Install, Garage Door, Garage Door Wrapping, Exterior Door & Lockset, Door Labor
Rebuilt inputs to note: 246466 and 258551 carry the SF torn down that matches their demolition hours; 258410 carries 21 extra siding squares from its house-wrap line (28 squares against 7 for the addition).
260109's framing package bundled its roof, siding and window materials, so its blocks shift while its total holds.
Not used: 260820 (porch repair), 261340 (garage conversion), 261265 (pole building), 261377 (siding only), 261089 and 260056 (remodels). Kay Oss jobs are test jobs.