## Read Me
Kitchen Ballpark Template — DRAFT for review
Deitemeyer Brothers · General Construction · drafted 27 Sep 2026 · decisions applied 28 Sep 2026
What this is
The build sheet for a formula-driven kitchen ballpark in JobTread, plus a working calculator so the numbers can be checked before anything is built.
It prices one kitchen at Good / Better / Best from 21 site-visit measurements, using DB's catalog rates and markup. It runs on the same engine as the bathroom template.
How to use it
1. Calculator tab: type the site-visit numbers into the yellow cells. The three totals and ranges update.
2. Template tab: every JobTread line with its cost group, cost code, unit, exact quantity formula, and unit cost and price per tier.
3. Parameters tab: the 21 site-visit parameters plus the contingency rate, which the estimator sets. Each starts with 'Kitchen ' so a job with a kitchen and a bath never shares one.
4. Rates tab: markup by cost type, and the ± band. It is set to ±20% for kitchens.
5. Calibration tab: how the template compares with every kitchen DB has estimated.
Legend
Yellow fill, blue text: an input you can change. Black text: a formula. Grey text: notes and sources.
How much to trust it
DB has not signed a kitchen since the move to JobTread. Two full kitchens have been estimated (both pending, both premium) and a few larger bids contain kitchen lines.
Both full kitchens reproduce within 5% at the tier each was quoted, and their labor and rough-in within 2%. That shows the template can express how DB prices a kitchen. It is not a forecast: the inputs were rebuilt from those same estimates.
The Good tier rests on one source, DB's apartment-kitchen bid. Better cabinets use DB's standard $600-per-foot allowance.
So the ballpark is quoted at ±20%, as the proposal planned, until three kitchens have closed. Then re-run the calibration and tighten it to ±15%.
Decided 28 Sep 2026
Contingency is its own line on each tier: 8% for a remodel where anything moves, 5% for a refresh that keeps the layout. The estimator sets the Kitchen Contingency Rate. The checks compare prices before contingency, because DB's past estimates carried none.
Allowances are stated as customer prices (JobTread allowance type: price). No total changes; an overage or a credit is simply the difference in price.
Products per tier: the estimator and the designer name one product per Good / Better / Best cell and lock the grid for six months (draft in the proposal, §9).
Still open: whether DB supplies appliances by default or only on request.
Source for every rate: kitchen estimates read from DB's JobTread account (read-only) on 27 Sep 2026. See Calibration tab.

## Calculator
Kitchen Ballpark Calculator
Type the site-visit numbers into the yellow cells. Example values below are a typical 180 SF gutted kitchen with a 26 ft cabinet run and a 6 ft island, not a real customer.
Site-visit measurement | Value | What to enter | JobTread parameter name | Ballpark | Good | Better | Best
Kitchen Floor Area | 180 | Floor area of the kitchen in SF, wall to wall, including any eat-in area being remodeled | {Kitchen Floor Area} | Phase 1 - General Requirements | 4343 | 4343 | 4343
Kitchen Full Gut | 1 | 1 = walls opened and all cabinets out; 0 = cabinets and counters swapped with walls left intact | {Kitchen Full Gut} | Phase 2 - Rough-In | 4933.71 | 4933.71 | 4933.71
Kitchen Cabinet Run | 26 | Linear feet of base cabinets, including the island and the width of any pantry or oven towers. Uppers are priced in. | {Kitchen Cabinet Run} | Phase 3 - Interior | 4162.9 | 4162.9 | 4162.9
Kitchen Island Length | 6 | Linear feet of island (already counted in the cabinet run) | {Kitchen Island Length} | Phase 4 - Finishes | 3993.5 | 3993.5 | 3993.5
Kitchen Backsplash | 1 | 1 = new backsplash along the wall run; 0 = none | {Kitchen Backsplash} | Finish selections (tier) | 24557.85 | 38855.5 | 60277.4
Kitchen Appliances Supplied | 0 | Appliances DB buys for the customer | {Kitchen Appliances Supplied} | Contingency (the Kitchen Contingency Rate) | 3359.2768 | 4503.0888 | 6216.8408
Kitchen Appliances Installed | 4 | All appliances DB sets, including ones the customer buys | {Kitchen Appliances Installed} | Ballpark total | 45350.2368 | 60791.6988 | 83927.3508
Kitchen Fixtures Replaced | 2 | Plumbing fixtures in the same spot: sink, dishwasher, fridge water line, pot filler | {Kitchen Fixtures Replaced} | Check: equals Template total | OK | OK | OK
Kitchen Fixtures Relocated | 0 | Fixtures whose drain, supply or gas line moves (an island sink counts) | {Kitchen Fixtures Relocated}
Kitchen New Flooring Area | 180 | SF of new flooring, including any beyond the kitchen | {Kitchen New Flooring Area} | Budget range shown to customer
Kitchen Light Fixtures | 2 | Pendants or ceiling fixtures replaced | {Kitchen Light Fixtures} | Low | 36300 | 48600 | 67100
Kitchen Recessed Lights | 6 | New recessed cans | {Kitchen Recessed Lights} | High | 54400 | 73000 | 100700
Kitchen Circuits Added | 3 | New appliance circuits, GFCI runs, island outlets | {Kitchen Circuits Added}
Kitchen Under-Cabinet Lighting | 1 | 1 = add under-cabinet lighting | {Kitchen Under-Cabinet Lighting} | Totals exclude sales tax and the design agreement fee.
Kitchen Walls Moved | 0 | Walls framed, removed or relocated | {Kitchen Walls Moved} | The ± band is set on the Rates tab.
Kitchen Subfloor Repair Area | 0 | SF of subfloor or sheathing repair observed | {Kitchen Subfloor Repair Area}
Kitchen Interior Doors | 0 | Interior doors replaced | {Kitchen Interior Doors}
Kitchen Exterior Doors | 0 | Exterior doors replaced | {Kitchen Exterior Doors}
Kitchen HVAC Work | 0 | 1 = register or duct moved | {Kitchen HVAC Work}
Kitchen Dumpster Loads | 1 | Haul-away loads (1 for most kitchens; 2-3 when walls come out) | {Kitchen Dumpster Loads}
Kitchen Travel Hours | 0 | Crew travel hours for jobs past the standard service zone | {Kitchen Travel Hours}
Kitchen Contingency Rate | 8 | Contingency as a % of the tier total, set by the estimator: 5 for a refresh that keeps the layout, 8 when anything moves | {Kitchen Contingency Rate}

## Template
JobTread build sheet: cost group "BALLPARK — Kitchen"
One row per JobTread line. Paste the quantity formula exactly as written into the catalog item. Rows marked [each tier] become one item in each of the Good, Better and Best option groups, at that tier's cost. Rows marked with a single tier go only in that option. All other rows are common scope.
# | JobTread cost group path | Line item | Cost code | Unit | JobTread quantity formula | Qty (live) | Good cost | Good type | Good unit price | Good total | Better cost | Better type | Better unit price | Better total | Best cost | Best type | Best unit price | Best total | Allowance type | Note
1 | BALLPARK — Kitchen > Phase 1 - General Requirements > Permits | Permit | General Requirements | Lump Sum | 1 | 1 | 190 | O | 275.5 | 275.5 | 190 | O | 275.5 | 275.5 | 190 | O | 275.5 | 275.5 |  | Kitchen permits on DB's two full kitchens were $275 and $287 price. Adjust per city.
2 | BALLPARK — Kitchen > Phase 1 - General Requirements > Project/Site Management | Project Management (C) | Project Management | Hours | 4 + 4*{Kitchen Full Gut} | 8 | 55 | L | 100 | 800 | 55 | L | 100 | 800 | 55 | L | 100 | 800
3 | BALLPARK — Kitchen > Phase 1 - General Requirements > Site Preparation | Site Prep Material | Site Construction | Each | 1 | 1 | 150 | M | 217.5 | 217.5 | 150 | M | 217.5 | 217.5 | 150 | M | 217.5 | 217.5
4 | BALLPARK — Kitchen > Phase 1 - General Requirements > Site Preparation | Site Prep Labor | Site Prep/Clean Up | Hours | 2 | 2 | 55 | L | 100 | 200 | 55 | L | 100 | 200 | 55 | L | 100 | 200
5 | BALLPARK — Kitchen > Phase 1 - General Requirements > Demolition | Demolition | Demolition | Hours | 8 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15) + 6*{Kitchen Walls Moved} | 20 | 55 | L | 100 | 2000 | 55 | L | 100 | 2000 | 55 | L | 100 | 2000 |  | 8 h setup, plus 1 h per 15 SF when gutted, plus 6 h per wall moved.
6 | BALLPARK — Kitchen > Phase 1 - General Requirements > Site Clean Up | Hauling & Disposal | Hauling & Disposal (Direct) | Each | {Kitchen Dumpster Loads} | 1 | 250 | L | 450 | 450 | 250 | L | 450 | 450 | 250 | L | 450 | 450 |  | Uses DB's existing catalog item: $250 cost / $450 price per load.
7 | BALLPARK — Kitchen > Phase 1 - General Requirements > Site Clean Up | Final Clean | Site Prep/Clean Up | Hours | 2 + 2*{Kitchen Full Gut} | 4 | 55 | L | 100 | 400 | 55 | L | 100 | 400 | 55 | L | 100 | 400
8 | BALLPARK — Kitchen > Phase 1 - General Requirements > Travel | Travel | Travel Related Costs | Hours | {Kitchen Travel Hours} | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0
9 | BALLPARK — Kitchen > Phase 2 - Rough-In > Framing Materials | Framing/Sheathing Materials | Woods & Plastics | Lump Sum | {Kitchen Full Gut} + 3*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/32) | 1 | 150 | M | 217.5 | 217.5 | 150 | M | 217.5 | 217.5 | 150 | M | 217.5 | 217.5
10 | BALLPARK — Kitchen > Phase 2 - Rough-In > Framing Materials | Framing/Sheathing Labor | Framing/Sheeting | Hours | 4*{Kitchen Full Gut} + 8*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/8) | 4 | 55 | L | 100 | 400 | 55 | L | 100 | 400 | 55 | L | 100 | 400
11 | BALLPARK — Kitchen > Phase 2 - Rough-In > Plumbing - Rough-In | Plumbing Materials | Mechanical (Plumbing & HVAC) | Lump Sum | 1 + {Kitchen Fixtures Replaced} + 5*{Kitchen Fixtures Relocated} | 3 | 100 | M | 145 | 435 | 100 | M | 145 | 435 | 100 | M | 145 | 435 |  | Relocations (island sink, moved range gas line) add $500 cost each.
12 | BALLPARK — Kitchen > Phase 2 - Rough-In > Plumbing - Rough-In | Plumbing Labor | Mechanical (Plumbing & HVAC) | Hours | 3 + round(2.5*{Kitchen Fixtures Replaced}) + 4*{Kitchen Fixtures Relocated} | 8 | 55 | L | 100 | 800 | 55 | L | 100 | 800 | 55 | L | 100 | 800
13 | BALLPARK — Kitchen > Phase 2 - Rough-In > Plumbing - Rough-In | HVAC Materials | Mechanical (Plumbing & HVAC) | Lump Sum | {Kitchen HVAC Work} | 0 | 100 | M | 145 | 0 | 100 | M | 145 | 0 | 100 | M | 145 | 0
14 | BALLPARK — Kitchen > Phase 2 - Rough-In > Plumbing - Rough-In | HVAC Labor | Mechanical (Plumbing & HVAC) | Hours | 2*{Kitchen HVAC Work} | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0
15 | BALLPARK — Kitchen > Phase 2 - Rough-In > Electrical - Rough-In | Electrical Materials | Electrical | Square Foot | {Kitchen Floor Area} | 180 | 2.61 | M | 3.7845 | 681.21 | 2.61 | M | 3.7845 | 681.21 | 2.61 | M | 3.7845 | 681.21 |  | DB prices kitchen electrical material per SF of floor: $2.61 cost ($3.78 price) on both full kitchens.
16 | BALLPARK — Kitchen > Phase 2 - Rough-In > Electrical - Rough-In | Electrical Labor | Electrical | Hours | 4 + {Kitchen Light Fixtures} + {Kitchen Recessed Lights} + 3*{Kitchen Circuits Added} + 3*{Kitchen Under-Cabinet Lighting} | 24 | 55 | L | 100 | 2400 | 55 | L | 100 | 2400 | 55 | L | 100 | 2400
17 | BALLPARK — Kitchen > Phase 3 - Interior > Drywall | Drywall Materials | Finishes | Lump Sum | 1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10) | 19 | 23 | M | 33.35 | 633.65 | 23 | M | 33.35 | 633.65 | 23 | M | 33.35 | 633.65 |  | About $2.30 cost per SF of floor when gutted, from DB's two full kitchens.
18 | BALLPARK — Kitchen > Phase 3 - Interior > Drywall | Drywall Labor | Drywall | Hours | 6 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15) | 18 | 55 | L | 100 | 1800 | 55 | L | 100 | 1800 | 55 | L | 100 | 1800
19 | BALLPARK — Kitchen > Phase 3 - Interior > Paint | Paint Materials | Finishes | Lump Sum | 1 + {Kitchen Full Gut} | 2 | 115 | M | 166.75 | 333.5 | 115 | M | 166.75 | 333.5 | 115 | M | 166.75 | 333.5
20 | BALLPARK — Kitchen > Phase 3 - Interior > Paint | Paint Labor | Painting | Hours | 3 + ceil({Kitchen Floor Area}/20) | 12 | 55 | L | 100 | 1200 | 55 | L | 100 | 1200 | 55 | L | 100 | 1200
21 | BALLPARK — Kitchen > Phase 3 - Interior > Flooring | Flooring - Misc. Material | Finishes | Square Foot | {Kitchen New Flooring Area} | 180 | 0.75 | M | 1.0875 | 195.75 | 0.75 | M | 1.0875 | 195.75 | 0.75 | M | 1.0875 | 195.75
22 | BALLPARK — Kitchen > Phase 4 - Finishes > Cabinetry | Cabinet Knob/Pull | Cabinetry | Each | ceil(2.5*{Kitchen Cabinet Run}) | 65 | 10 | M | 14.5 | 942.5 | 10 | M | 14.5 | 942.5 | 10 | M | 14.5 | 942.5
23 | BALLPARK — Kitchen > Phase 4 - Finishes > Appliances | Appliance Labor | Appliances | Hours | 2*{Kitchen Appliances Installed} | 8 | 55 | L | 100 | 800 | 55 | L | 100 | 800 | 55 | L | 100 | 800 |  | 2 h per appliance set. DB carried 8 h for four appliances.
24 | BALLPARK — Kitchen > Phase 4 - Finishes > Interior Doors | Interior Door | Doors | Each | {Kitchen Interior Doors} | 0 | 400 | M | 580 | 0 | 400 | M | 580 | 0 | 400 | M | 580 | 0
25 | BALLPARK — Kitchen > Phase 4 - Finishes > Exterior Doors | Exterior Door & Lockset | Doors | Each | {Kitchen Exterior Doors} | 0 | 1230 | M | 1783.5 | 0 | 1230 | M | 1783.5 | 0 | 1230 | M | 1783.5 | 0 |  | Matches the exterior door DB priced on its full kitchen: $1,675 door plus $109 lockset, price.
26 | BALLPARK — Kitchen > Phase 4 - Finishes > Interior Doors | Door Labor | Doors | Hours | 3*{Kitchen Interior Doors} + 8*{Kitchen Exterior Doors} | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0 | 55 | L | 100 | 0
27 | BALLPARK — Kitchen > Phase 4 - Finishes > Interior Trims & Finishes | Trim Materials | Woods & Plastics | Lump Sum | 1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10) | 19 | 20 | M | 29 | 551 | 20 | M | 29 | 551 | 20 | M | 29 | 551
28 | BALLPARK — Kitchen > Phase 4 - Finishes > Interior Trims & Finishes | Trim Labor | Interior Trim/Casing/Paneling | Hours | 2 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/12) + {Kitchen Interior Doors} + 2*{Kitchen Exterior Doors} | 17 | 55 | L | 100 | 1700 | 55 | L | 100 | 1700 | 55 | L | 100 | 1700
29 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Cabinets | Cabinetry | Linear Feet | {Kitchen Cabinet Run} | 26 | 400 | M | 580 | 15080 | 600 | M | 870 | 22620 | 900 | M | 1305 | 33930 | Price | Per linear foot of base-cabinet run, uppers and towers included (DB's own convention). Good = stock builder line ($270 price per LF on DB's apartment kitchens). Better = $600 cost, DB's standard cabinet allowance. Best = premium line such as KraftMaid plywood or painted; DB's kitchen addition bid $1,178 price per LF.
30 | BALLPARK — Kitchen > Finish Level (select one) > Good | Cabinetry Labor — Good | Cabinetry | Hours | 4 + ceil(1.1*{Kitchen Cabinet Run}) | 33 | 55 | L | 100 | 3300 | 0 | L | 0 | 0 | 0 | L | 0 | 0 |  | One item per tier: 4 h plus 1.1 / 1.3 / 1.5 h per foot of run. Premium lines take longer to set.
31 | BALLPARK — Kitchen > Finish Level (select one) > Better | Cabinetry Labor — Better | Cabinetry | Hours | 4 + ceil(1.3*{Kitchen Cabinet Run}) | 38 | 0 | L | 0 | 0 | 55 | L | 100 | 3800 | 0 | L | 0 | 0 |  | One item per tier: 4 h plus 1.1 / 1.3 / 1.5 h per foot of run. Premium lines take longer to set.
32 | BALLPARK — Kitchen > Finish Level (select one) > Best | Cabinetry Labor — Best | Cabinetry | Hours | 4 + ceil(1.5*{Kitchen Cabinet Run}) | 43 | 0 | L | 0 | 0 | 0 | L | 0 | 0 | 55 | L | 100 | 4300 |  | One item per tier: 4 h plus 1.1 / 1.3 / 1.5 h per foot of run. Premium lines take longer to set.
33 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Countertops | Cabinetry | Square Foot | 2*{Kitchen Cabinet Run} + ceil(1.5*{Kitchen Island Length}) | 61 | 23 | M | 33.35 | 2034.35 | 80 | S | 104 | 6344 | 123 | S | 159.9 | 9753.9 | Price | SF = 2 per foot of run plus 1.5 per foot of island. Good = laminate ($33.75 price per SF on DB's apartment kitchens). Better = entry quartz. Best = 3 cm premium quartz; DB's other bids priced it at $117–$120 cost per SF.
34 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Backsplash | Tiling | Square Foot | {Kitchen Backsplash}*ceil(1.5*({Kitchen Cabinet Run} - {Kitchen Island Length})) | 30 | 20 | S | 26 | 780 | 35 | S | 45.5 | 1365 | 120 | S | 156 | 4680 | Price | SF = 1.5 ft high along the wall run. Good/Better = tile set by the tile sub. Best = quartz slab to match the counters. A full-height slab can cost twice this (one kitchen's ran $12,604).
35 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Sink, Faucet & Disposal | Mechanical (Plumbing & HVAC) | Each | 1 | 1 | 300 | M | 435 | 435 | 600 | M | 870 | 870 | 1000 | M | 1450 | 1450 | Price
36 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Appliance Allowance | Appliances | Each | {Kitchen Appliances Supplied} | 0 | 700 | M | 1015 | 0 | 1400 | M | 2030 | 0 | 2300 | M | 3335 | 0 | Price | Only appliances DB buys. Many customers supply their own; they still count toward install hours.
37 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Flooring Material | Finishes | Square Foot | {Kitchen New Flooring Area} | 180 | 4 | M | 5.8 | 1044 | 5 | M | 7.25 | 1305 | 15 | S | 19.5 | 3510 | Price | Good/Better = LVP installed by DB crew. Best = tile set by the tile sub, installed price per SF.
38 | BALLPARK — Kitchen > Finish Level (select one) > Good | Flooring Labor — Good | Flooring | Hours | ceil({Kitchen New Flooring Area}/20) + ceil({Kitchen New Flooring Area}/10000) | 10 | 55 | L | 100 | 1000 | 0 | L | 0 | 0 | 0 | L | 0 | 0 |  | Good and Better only. Best has no DB flooring labor because the tile sub installs.
39 | BALLPARK — Kitchen > Finish Level (select one) > Better | Flooring Labor — Better | Flooring | Hours | ceil({Kitchen New Flooring Area}/20) + ceil({Kitchen New Flooring Area}/10000) | 10 | 0 | L | 0 | 0 | 55 | L | 100 | 1000 | 0 | L | 0 | 0 |  | Good and Better only. Best has no DB flooring labor because the tile sub installs.
40 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Light Fixture | Electrical | Each | {Kitchen Light Fixtures} | 2 | 80 | M | 116 | 232 | 180 | M | 261 | 522 | 350 | M | 507.5 | 1015 | Price
41 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Recessed Light | Electrical | Each | {Kitchen Recessed Lights} | 6 | 25 | M | 36.25 | 217.5 | 35 | M | 50.75 | 304.5 | 60 | M | 87 | 522 | Price
42 | BALLPARK — Kitchen > Finish Level (select one) > [each tier] | Under-Cabinet Lighting | Electrical | Lump Sum | {Kitchen Under-Cabinet Lighting} | 1 | 300 | M | 435 | 435 | 500 | M | 725 | 725 | 770 | M | 1116.5 | 1116.5 | Price
43 | BALLPARK — Kitchen > Finish Level (select one) > Good | Contingency — Good | Contingency | Lump Sum | {Kitchen Contingency Rate}/100*((1)*275.5 + (4 + 4*{Kitchen Full Gut})*100 + (1)*217.5 + (2)*100 + (8 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15) + 6*{Kitchen Walls Moved})*100 + ({Kitchen Dumpster Loads})*450 + (2 + 2*{Kitchen Full Gut})*100 + ({Kitchen Travel Hours})*100 + ({Kitchen Full Gut} + 3*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/32))*217.5 + (4*{Kitchen Full Gut} + 8*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/8))*100 + (1 + {Kitchen Fixtures Replaced} + 5*{Kitchen Fixtures Relocated})*145 + (3 + round(2.5*{Kitchen Fixtures Replaced}) + 4*{Kitchen Fixtures Relocated})*100 + ({Kitchen HVAC Work})*145 + (2*{Kitchen HVAC Work})*100 + ({Kitchen Floor Area})*3.7845 + (4 + {Kitchen Light Fixtures} + {Kitchen Recessed Lights} + 3*{Kitchen Circuits Added} + 3*{Kitchen Under-Cabinet Lighting})*100 + (1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10))*33.35 + (6 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15))*100 + (1 + {Kitchen Full Gut})*166.75 + (3 + ceil({Kitchen Floor Area}/20))*100 + ({Kitchen New Flooring Area})*1.0875 + (ceil(2.5*{Kitchen Cabinet Run}))*14.5 + (2*{Kitchen Appliances Installed})*100 + ({Kitchen Interior Doors})*580 + ({Kitchen Exterior Doors})*1783.5 + (3*{Kitchen Interior Doors} + 8*{Kitchen Exterior Doors})*100 + (1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10))*29 + (2 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/12) + {Kitchen Interior Doors} + 2*{Kitchen Exterior Doors})*100 + ({Kitchen Cabinet Run})*580 + (4 + ceil(1.1*{Kitchen Cabinet Run}))*100 + (2*{Kitchen Cabinet Run} + ceil(1.5*{Kitchen Island Length}))*33.35 + ({Kitchen Backsplash}*ceil(1.5*({Kitchen Cabinet Run} - {Kitchen Island Length})))*26 + (1)*435 + ({Kitchen Appliances Supplied})*1015 + ({Kitchen New Flooring Area})*5.8 + (ceil({Kitchen New Flooring Area}/20) + ceil({Kitchen New Flooring Area}/10000))*100 + ({Kitchen Light Fixtures})*116 + ({Kitchen Recessed Lights})*36.25 + ({Kitchen Under-Cabinet Lighting})*435) | 3359.2768 | 1 | C | 1 | 3359.2768 | 0 | C | 0 | 0 | 0 | C | 0 | 0 |  | Contingency: the rate times this tier's whole price before contingency. JobTread formulas cannot reference other lines, so the subtotal is spelled out; regenerate this formula (run the build script) after any rate change. Unit price $1.00, cost type Other with markup 0, cost code Contingency.
44 | BALLPARK — Kitchen > Finish Level (select one) > Better | Contingency — Better | Contingency | Lump Sum | {Kitchen Contingency Rate}/100*((1)*275.5 + (4 + 4*{Kitchen Full Gut})*100 + (1)*217.5 + (2)*100 + (8 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15) + 6*{Kitchen Walls Moved})*100 + ({Kitchen Dumpster Loads})*450 + (2 + 2*{Kitchen Full Gut})*100 + ({Kitchen Travel Hours})*100 + ({Kitchen Full Gut} + 3*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/32))*217.5 + (4*{Kitchen Full Gut} + 8*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/8))*100 + (1 + {Kitchen Fixtures Replaced} + 5*{Kitchen Fixtures Relocated})*145 + (3 + round(2.5*{Kitchen Fixtures Replaced}) + 4*{Kitchen Fixtures Relocated})*100 + ({Kitchen HVAC Work})*145 + (2*{Kitchen HVAC Work})*100 + ({Kitchen Floor Area})*3.7845 + (4 + {Kitchen Light Fixtures} + {Kitchen Recessed Lights} + 3*{Kitchen Circuits Added} + 3*{Kitchen Under-Cabinet Lighting})*100 + (1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10))*33.35 + (6 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15))*100 + (1 + {Kitchen Full Gut})*166.75 + (3 + ceil({Kitchen Floor Area}/20))*100 + ({Kitchen New Flooring Area})*1.0875 + (ceil(2.5*{Kitchen Cabinet Run}))*14.5 + (2*{Kitchen Appliances Installed})*100 + ({Kitchen Interior Doors})*580 + ({Kitchen Exterior Doors})*1783.5 + (3*{Kitchen Interior Doors} + 8*{Kitchen Exterior Doors})*100 + (1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10))*29 + (2 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/12) + {Kitchen Interior Doors} + 2*{Kitchen Exterior Doors})*100 + ({Kitchen Cabinet Run})*870 + (4 + ceil(1.3*{Kitchen Cabinet Run}))*100 + (2*{Kitchen Cabinet Run} + ceil(1.5*{Kitchen Island Length}))*104 + ({Kitchen Backsplash}*ceil(1.5*({Kitchen Cabinet Run} - {Kitchen Island Length})))*45.5 + (1)*870 + ({Kitchen Appliances Supplied})*2030 + ({Kitchen New Flooring Area})*7.25 + (ceil({Kitchen New Flooring Area}/20) + ceil({Kitchen New Flooring Area}/10000))*100 + ({Kitchen Light Fixtures})*261 + ({Kitchen Recessed Lights})*50.75 + ({Kitchen Under-Cabinet Lighting})*725) | 4503.0888 | 0 | C | 0 | 0 | 1 | C | 1 | 4503.0888 | 0 | C | 0 | 0 |  | Contingency: the rate times this tier's whole price before contingency. JobTread formulas cannot reference other lines, so the subtotal is spelled out; regenerate this formula (run the build script) after any rate change. Unit price $1.00, cost type Other with markup 0, cost code Contingency.
45 | BALLPARK — Kitchen > Finish Level (select one) > Best | Contingency — Best | Contingency | Lump Sum | {Kitchen Contingency Rate}/100*((1)*275.5 + (4 + 4*{Kitchen Full Gut})*100 + (1)*217.5 + (2)*100 + (8 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15) + 6*{Kitchen Walls Moved})*100 + ({Kitchen Dumpster Loads})*450 + (2 + 2*{Kitchen Full Gut})*100 + ({Kitchen Travel Hours})*100 + ({Kitchen Full Gut} + 3*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/32))*217.5 + (4*{Kitchen Full Gut} + 8*{Kitchen Walls Moved} + ceil({Kitchen Subfloor Repair Area}/8))*100 + (1 + {Kitchen Fixtures Replaced} + 5*{Kitchen Fixtures Relocated})*145 + (3 + round(2.5*{Kitchen Fixtures Replaced}) + 4*{Kitchen Fixtures Relocated})*100 + ({Kitchen HVAC Work})*145 + (2*{Kitchen HVAC Work})*100 + ({Kitchen Floor Area})*3.7845 + (4 + {Kitchen Light Fixtures} + {Kitchen Recessed Lights} + 3*{Kitchen Circuits Added} + 3*{Kitchen Under-Cabinet Lighting})*100 + (1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10))*33.35 + (6 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/15))*100 + (1 + {Kitchen Full Gut})*166.75 + (3 + ceil({Kitchen Floor Area}/20))*100 + ({Kitchen New Flooring Area})*1.0875 + (ceil(2.5*{Kitchen Cabinet Run}))*14.5 + (2*{Kitchen Appliances Installed})*100 + ({Kitchen Interior Doors})*580 + ({Kitchen Exterior Doors})*1783.5 + (3*{Kitchen Interior Doors} + 8*{Kitchen Exterior Doors})*100 + (1 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/10))*29 + (2 + {Kitchen Full Gut}*ceil({Kitchen Floor Area}/12) + {Kitchen Interior Doors} + 2*{Kitchen Exterior Doors})*100 + ({Kitchen Cabinet Run})*1305 + (4 + ceil(1.5*{Kitchen Cabinet Run}))*100 + (2*{Kitchen Cabinet Run} + ceil(1.5*{Kitchen Island Length}))*159.9 + ({Kitchen Backsplash}*ceil(1.5*({Kitchen Cabinet Run} - {Kitchen Island Length})))*156 + (1)*1450 + ({Kitchen Appliances Supplied})*3335 + ({Kitchen New Flooring Area})*19.5 + ({Kitchen Light Fixtures})*507.5 + ({Kitchen Recessed Lights})*87 + ({Kitchen Under-Cabinet Lighting})*1116.5) | 6216.8408 | 0 | C | 0 | 0 | 0 | C | 0 | 0 | 1 | C | 1 | 6216.8408 |  | Contingency: the rate times this tier's whole price before contingency. JobTread formulas cannot reference other lines, so the subtotal is spelled out; regenerate this formula (run the build script) after any rate change. Unit price $1.00, cost type Other with markup 0, cost code Contingency.
|  | TOTAL | [7 empty] | 45350.2368 |  |  |  | 60791.6988 |  |  |  | 83927.3508

## Parameters
JobTread job parameters used by the formulas
Verified 27 Sep 2026: formula variables are job parameters (job.parameters), the same mechanism DB's roofing formulas use. Names must match exactly. Every name starts with 'Kitchen ' so a job carrying more than one ballpark template never shares a parameter between rooms.
JobTread parameter | Type | Default | How to measure / count | Used by (line items)
Kitchen Floor Area | Number | 180 | Floor area of the kitchen in SF, wall to wall, including any eat-in area being remodeled | Demolition, Drywall Labor, Drywall Materials, Electrical Materials, Paint Labor, Trim Labor, Trim Materials
Kitchen Full Gut | Number | 1 | 1 = walls opened and all cabinets out; 0 = cabinets and counters swapped with walls left intact | Demolition, Drywall Labor, Drywall Materials, Final Clean, Framing/Sheathing Labor, Framing/Sheathing Materials, Paint Materials, Project Management (C), Trim Labor, Trim Materials
Kitchen Cabinet Run | Number | 24 | Linear feet of base cabinets, including the island and the width of any pantry or oven towers. Uppers are priced in. | Backsplash, Cabinet Knob/Pull, Cabinetry Labor, Cabinets, Countertops
Kitchen Island Length | Number | 0 | Linear feet of island (already counted in the cabinet run) | Backsplash, Countertops
Kitchen Backsplash | Number | 1 | 1 = new backsplash along the wall run; 0 = none | Backsplash
Kitchen Appliances Supplied | Number | 0 | Appliances DB buys for the customer | Appliance Allowance
Kitchen Appliances Installed | Number | 4 | All appliances DB sets, including ones the customer buys | Appliance Labor
Kitchen Fixtures Replaced | Number | 2 | Plumbing fixtures in the same spot: sink, dishwasher, fridge water line, pot filler | Plumbing Labor, Plumbing Materials
Kitchen Fixtures Relocated | Number | 0 | Fixtures whose drain, supply or gas line moves (an island sink counts) | Plumbing Labor, Plumbing Materials
Kitchen New Flooring Area | Number | 0 | SF of new flooring, including any beyond the kitchen | Flooring - Misc. Material, Flooring Labor, Flooring Material
Kitchen Light Fixtures | Number | 1 | Pendants or ceiling fixtures replaced | Electrical Labor, Light Fixture
Kitchen Recessed Lights | Number | 4 | New recessed cans | Electrical Labor, Recessed Light
Kitchen Circuits Added | Number | 2 | New appliance circuits, GFCI runs, island outlets | Electrical Labor
Kitchen Under-Cabinet Lighting | Number | 0 | 1 = add under-cabinet lighting | Electrical Labor, Under-Cabinet Lighting
Kitchen Walls Moved | Number | 0 | Walls framed, removed or relocated | Demolition, Framing/Sheathing Labor, Framing/Sheathing Materials
Kitchen Subfloor Repair Area | Number | 0 | SF of subfloor or sheathing repair observed | Framing/Sheathing Labor, Framing/Sheathing Materials
Kitchen Interior Doors | Number | 0 | Interior doors replaced | Door Labor, Interior Door, Trim Labor
Kitchen Exterior Doors | Number | 0 | Exterior doors replaced | Door Labor, Exterior Door & Lockset, Trim Labor
Kitchen HVAC Work | Number | 0 | 1 = register or duct moved | HVAC Labor, HVAC Materials
Kitchen Dumpster Loads | Number | 1 | Haul-away loads (1 for most kitchens; 2-3 when walls come out) | Hauling & Disposal
Kitchen Travel Hours | Number | 0 | Crew travel hours for jobs past the standard service zone | Travel
Kitchen Contingency Rate | Number | 8 | Contingency as a % of the tier total, set by the estimator: 5 for a refresh that keeps the layout, 8 when anything moves

## Rates
Markup by cost type
Cost type code | Cost type | Price ÷ cost | Note
L | Labor | 1.8182 | DB catalog labor: $55 cost / $100 price per hour (a 45% margin).
M | Materials | 1.45 | DB catalog materials: ×1.45 with zero variance across the catalog (field notes §9).
S | Subcontractor | 1.3 | Countertop, tile and flooring subs in DB's estimates were marked up ×1.30.
O | Other | 1.45 | Permits and misc. fees: ×1.45.
U | Labor, per unit | 1.45 | Labor the catalog prices per square or foot (siding, roofing, gutters). JobTread cost type Labor, marked up ×1.45 like the catalog.
C | Contingency | 1 | Its own line, carried at cost so it can be reported and credited. JobTread cost type Other with the markup set to 0, cost code Contingency.
Labor cost per hour |  | 55 | Used as the unit cost of every labor line on the Template tab.
Labor price per hour |  | 100
Budget range accuracy (±) |  | 20% | Kitchens are quoted at ±20% until three have closed and the calibration is re-run (then ±15%).

## Calibration
Checks against every kitchen DB has estimated since the move to JobTread
Full kitchens: actual = JobTread estimate total less design-fee lines. Intake was rebuilt from each estimate's own lines, and the tier from its products, so this checks that the template reproduces DB's pricing. It is not an out-of-sample test.
Structure = everything except the finish selections (labor, rough-in, demo, drywall, general requirements).
Full kitchen estimates
Job | Status | Actual total | Model Good | Model Better | Model Best | Model at the tier quoted | Error at tier | Structure actual | Structure model | Structure error | Kitchen Floor Area | Kitchen Full Gut | Kitchen Cabinet Run | Kitchen Island Length | Kitchen Backsplash | Kitchen Appliances Supplied | Kitchen Appliances Installed | Kitchen Fixtures Replaced | Kitchen Fixtures Relocated | Kitchen New Flooring Area | Kitchen Light Fixtures | Kitchen Recessed Lights | Kitchen Circuits Added | Kitchen Under-Cabinet Lighting | Kitchen Walls Moved | Kitchen Subfloor Repair Area | Kitchen Interior Doors | Kitchen Exterior Doors | Kitchen HVAC Work | Kitchen Dumpster Loads | Kitchen Travel Hours
261384 | pending | 98048.85 | 52267.49 | 70892.99 | 97340.99 | 97340.99 | -0.7219% | 28546.6 | 28454.49 | -0.3227% | 181 | 1 | 34 | 8 | 1 | 1 | 4 | 2 | 1 | 0 | 1 | 4 | 3 | 0 | 0 | 80 | 0 | 1 | 0 | 1 | 0
261062 | pending | 91172.79 | 57748.75 | 75503.5 | 102990.5 | 96109 | 5.414% | 33724.29 | 33565.5 | -0.4708% | 200 | 1 | 28 | 6 | 1 | 2 | 4 | 3 | 1 | 460 | 2 | 6 | 4 | 1 | 2 | 0 | 1 | 0 | 0 | 3 | 0
Component checks against kitchen lines inside larger bids
Source estimate | What | Actual | Model | Error
261268 whole-house remodel | Cabinets $/LF (Better) | 870 | 870 | 0%
258551 kitchen addition | Cabinets $/LF (Best) | 1178 | 1305 | 10.78%
258811 apartment kitchens | Countertop $/SF (Good, laminate) | 33.75 | 33.35 | -1.185%
261268 whole-house remodel | Countertop $/SF (Best, quartz) | 174 | 159.9 | -8.103%
258551 kitchen addition | Countertop $/SF (Best, quartz) | 169.34 | 159.9 | -5.575%
261268 whole-house remodel | Cabinet install hours, 28 LF (Better) | 40 | 41 | 2.5%
258551 kitchen addition | Cabinet install hours, 30 LF (Best) | 72 | 49 | -31.94%
Sources: 261384 and 261062 (full kitchens, pending); 261268 (whole-house remodel, 28 LF kitchen); 258551 (kitchen addition, lost); 258811 (three apartment kitchens, lost).
Not used: 260599 (countertop-only bids), 260887 (kitchen lines too small to separate from the bathroom), 258781 and 260128 (a few kitchen items inside other work). The Kay Oss kitchen job is a test job.